S-EYE User Manual

S-EYE V1.2

Overview

S-EYE is an application for imaging a dynamic image processing, has the following characteristics:

- Support a variety of cameras, can switch at any time to use.

- Using GPU rendering for image previewing, support for live image display of high-resolution and high frame rates.

- Support dynamic image measurement function.

- The software interface is easy to operate.

User Interface

- Toolbar：Take pictures/Recording video/Browse files.

- Sidebar tab：Switching the rightmost control panels currently provides camera control and measurement functions.

- Control panel：Specific camera control and measurement operations.

- Status bar：Display camera information, Change user interface view, and Toggle measure result panel.

- Main menu：Open setting dialog, show software information, etc.

Capture Images

You can capture pictures and videos：

- Take a picture: Click “Snap” button to take a picture. Click the right arrow beside the “Snap” button to set picture file format and resolution.

- Recording：Click “Record” button to start video recording, Click again to stop recording. When recording, there will be an animation indicator over the image.

- Browse：Click “Browse” button to open the folder where pictures and video stored.

Camera Control

| Screen shot | Description |
| --- | --- |
|  | Device Control: - Select a camera currently connected. - Set preview size and image format. |
|  | Exposure and Gain: - Toggle automatic and manual exposure control. - Change exposure time. - Change gain value. - Change auto exposure target brightness. |
|  | White balance: - Toggle automatic or manual white balance. - One push white balance. - Change color temperature. - Change red/gain/blue gain value. |
|  | Normal camera parameter adjustment. |
|  | Color mode |
|  | Flip image vertically and horizontally. |
|  | Power frequency: To avoid image flicker, you may need change this parameter. |
|  | Decrease the noise from the image. |
|  | - Reset camera parameters. - Open camera property dialog if it existed. |

*If the selected camera does not support some features, the corresponding interface controls will not be operated.

Measurement

| ICON | FUNCTION | Description |
| --- | --- | --- |
|  | Move | Move or adjust the measurement tool. |
|  | Point | Draw a marker over the image. |
|  | Line | Measure length of a line. |
|  | Break line | Measure length of break line, right click to finish drawing. |
|  | Rectangle | Measure perimeter and acreage of a rectangle. |
|  | Polygon | Measure perimeter and acreage of a polygon. |
|  | Circle | Measure a circle, the circle is determined by center point and radius. |
|  | Two Points Circle | Measure a circle, the circle is determined by two points. |
|  | Three Points Circle | Measure a circle, the circle is determined by three points. |
|  | Arc | Measure length of arc. |
|  | Angle | Measure angle. |
|  | Perpendicular | Measure the distance from a point to a line. |
|  | Delete | Delete one measurement tool. |
|  | Delete all | Delete all measurement tools. |
|  | Export | Export measurement result to file. |

Troubleshooting

| Problem | Solution |
| --- | --- |
| Some parts of the preview image are blank, some parts are normal. | Possibly the graphics drivers may not be installed, please install the latest graphics drivers. |